CTAB extraction protocol

(Reference: Doyle & Doyle, 1987; and Cullings 1992)

1. Prepare CTAB buffer.  Add polyvinylpyrrol (Fisher Cat#: BP431-500) and ß-mercaptoehanol (Fisher Cat#: BP176-100), dissolve right before starting extractions.

Per reaction:			34X (use this for 24 samples)	50X

CTAB: 0.5 mL			CTAB: 17 mL				CTAB: 25 mL

PVP: 0.02 g			PVP: 0.68 g				PVP: 1 g

ß-merc: 2.5 µL		ß-merc: 85 µL			ß-merc: 125 µL

Measure out CTAB and PVP, combine in small beaker.  In a larger beaker microwave water to a boil.  Place smaller beaker in larger one to help dissolve PVP into CTAB buffer.  Add in ß-merc under fume hood, mix with pipette tip.  Keep in boiling beaker.

2.  Weigh out 10-20 mg of silica-dried plant tissue

For herbarium samples try to use green tissue

3. Grind tissue using either blue pestles, or beads (Zirconia Beads 2.0mm BioSpec Cat# 11079124zx).  For beads add in 4-5 beads per tube.  Place in grinder for about 2 minutes.

4. Add 500 µL of CTAB buffer.

5. Incubate samples at 55°C for 15 minute if herbarium samples, at least 30 minutes if fresh material.  Longest that should be necessary is ~1 hour.

6. Add 500µL of 24:1 Chloroform:Iso Amyl Alcohol and mix well by shaking.

7. Centrifuge for 10 minutes at max speed

Following centrifuge sample should separate out into 3 layers.

8. Pipette off the aqueous layer (top layer), careful not to suck up any of the bottom two layers.  Samples should yield around 300-400 µL of liquid.

9. Place aqueous layer into a new tube.

10. Estimate the volume of the aqueous phase

11. Add 0.8 volume of cold 7.5 M ammonium acetate

12. Add in 0.54 volumes (using combined volume of aqueous phase + AmAC_ of cold isopropanol.

13. Mix well (vortex).

14. Let sit in freezer for 20 minutes to overnight

longer times yield more DNA but possibly more contaminants

15. Centrifuge for 5 minutes at max speed

16. Pour off liquid, careful not to lose DNA pellet

17. Add in 700 µL of cold 70% Ethanol and mix

18. Centrifuge for 5 minute at max speed

19. Add in 700 µL of cold 95% Ethanol and mix.

20. Centrifuge for 5 min.

21. Repeat steps 19-20 one additional time.

22. Dry pellet by inverting samples on Kim-wipe for 1 hour or until dry (can go overnight if necessary).

23. Resuspend samples in 50 µL of water, let sit in fridge for 24 hours before running test gel or using DNA.